Finding the Precision of Lab Instruments

Today, you and your group will learn how to read instruments to the correct number of decimal places.....this is called the precision of the instrument.  The more decimal places read, the more precise an instrument.

You will need to make a chart in your notes with 4 columns:  Name of Instrument, Closest Marks, Precision, and Final Measurement.

- Stopwatch (digital) – Measure the time it takes a member of your team to walk around the lab bench.  Fill in your chart.

- Ruler – Measure the length of the metal bar.  Use the centimeter side of the ruler containing the greatest amount of lines.  Remember to start measuring from the 1 cm mark instead of the end of the ruler.  Fill in your chart.

- Thermometer – Measure the temperature of the room.  Fill in your chart.

- Large Graduated Cylinder – Measure the amount of yellow liquid.  Remember to measure from the bottom of the meniscus.  Hold the white piece of paper behind the cylinder if you cannot see the meniscus.  Fill in your chart.

- Small Graduated Cylinder – Measure the amount of red liquid.  Remember to measure from the bottom of the meniscus.   Fill in your chart.

- Triple Beam Balance – Measure the mass of the metal bar.  Fill in your chart.

- Spring Scale – Place the hooked mass on the spring scale.  Read the Newton (N) side of the scale.  Fill in your chart.

- Electronic Balance (digital) – Find the mass of the metal bar.  In your chart, note which balance you are using – Gray or White.  Fill in your chart.

- Multimeter (digital)  – Turn on the meter to the 2 on the left.  Place the electrodes to either end of the D battery.  Fill in your chart.